## input
# type (r[1-9];w;u) | class | name | comment | QQ | ZZ | PBSB | ID | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment | field | part (m;s) | type / templates | divider / values | unit | comment
# | 22102 | OTE 2 | 22102 1001 472
#______________________________
*r | heatpump_m |  |  |  | 15 | 621 | 2
r |  | mode |  |  |  |  | b50040 |  |  | param | [5 empty] | hpstatus
#______________________________
*r | buffer |  |  |  | 15 | 621 | 7a
r |  | tpo |  |  |  |  | 800010 |  |  | param | [5 empty] | tempt
r |  | tpm |  |  |  |  | 810010 |  |  | param | [5 empty] | tempt
r |  | flow |  |  |  |  | 820010 |  |  | param | [5 empty] | tempt
r |  | nominal |  |  |  |  | 830010 |  |  | param | [5 empty] | tempt
r |  | heating |  |  |  |  | 840010 |  |  | param | [5 empty] | percent1
r |  | boiler_b |  |  |  |  | 850010 |  |  | param | [5 empty] | percent1
r |  | status_b |  |  |  |  | 860010 |  |  | param | [5 empty] | status
#______________________________
*r | boiler |  |  |  | 15 | 621 | 79
r |  | status |  |  |  |  | 80000e |  |  | param | [5 empty] | status
r |  | tb |  |  |  |  | 81000e |  |  | param | [5 empty] | tempt
r |  | nominal |  |  |  |  | 82000e |  |  | param | [5 empty] | tempt
#______________________________
*r | unknow |  |  |  | 15 | 621 | 2
r |  | 02c60040 |  |  |  | 621 | 02c60040 |  |  | param | [5 empty] | status
r |  | 02c80040 |  |  |  | 621 | 02c80040 |  |  | param | [5 empty] | status
r |  | 01cc0042 |  |  |  | 621 | 01cc0042 |  |  | param | [5 empty] | status
r |  | 1960042 |  |  |  | 621 | 1960042 |  |  | param | [5 empty] | status
r |  | 1940048 |  |  |  | 621 | 1940048 |  |  | param | [5 empty] | tempt
#______________________________
*r | temperature |  |  |  | 15 | 621 | 0
r |  | outside | AuÃŸentemperatur |  |  |  | 800040 |  |  | param | [5 empty] | tempt
r |  | water | Warmwasser Temperatur |  |  |  | 840040 |  |  | param | [5 empty] | tempt
r |  | buffer1 | Vorlauftemperatur |  |  |  | e00040 |  |  | param | [5 empty] | tempt
#r |  | tqa1 |  |  |  |  | c60042 |  |  | param | [5 empty] | tempt
r |  | tqe1 |  |  |  |  | c70042 |  |  | param | [5 empty] | tempt
r |  | twv1 |  |  |  |  | 870042 |  |  | param | [5 empty] | tempt
r |  | twr1 |  |  |  |  | 880042 |  |  | param | [5 empty] | tempt
r |  | outside1 |  |  |  |  | 800042 |  |  | param | [5 empty] | tempt
r |  | outside2 |  |  |  |  | 800048 |  |  | param | [5 empty] | tempt
r |  | boiler2 |  |  |  |  | 810048 |  |  | param | [5 empty] | tempt
r |  | buffer2 |  |  |  |  | 820048 |  |  | param | [5 empty] | tempt
#______________________________
*r | heatpump |  |  |  | 15 | 621 | 7d
r |  | status |  |  |  |  | 800002 |  |  | param | [5 empty] | status
r |  | twv |  |  |  |  | 810002 |  |  | param | [5 empty] | tempt
r |  | nominal |  |  |  |  | 820002 |  |  | param | [5 empty] | tempt
r |  | twr |  |  |  |  | 830002 |  |  | param | [5 empty] | tempt
r |  | tqa |  |  |  |  | 840002 |  |  | param | [5 empty] | tempt
r |  | tqe |  |  |  |  | 850002 |  |  | param | [5 empty] | tempt
r |  | cycles |  |  |  |  | 860002 |  |  | param2 | [5 empty] | cycles | [5 empty] | cycles | [5 empty] | cycles
r |  | hours |  |  |  |  | 870002 |  |  | param1 | [5 empty] | hours | [5 empty] | hours
r |  | volumekwh |  |  |  |  | 880002 |  |  | param | [5 empty] | kwh
r |  | volumemwh |  |  |  |  | 890002 |  |  | param | [5 empty] | mwh
r |  | heatkwh |  |  |  |  | 8a0002 |  |  | param | [5 empty] | kwh
r |  | heatmwh |  |  |  |  | 8b0002 |  |  | param | [5 empty] | mwh
r |  | coolkwh |  |  |  |  | 8c0002 |  |  | param | [5 empty] | kwh
r |  | coolmwh |  |  |  |  | 8d0002 |  |  | param | [5 empty] | mwh
r |  | waterkwh |  |  |  |  | 800 |  |  | param | [5 empty] | kwh
r |  | watermwh |  |  |  |  | 8f0002 |  |  | param | [5 empty] | mwh
#______________________________
*r | circuit1config |  |  |  | 15 | 621 | 67
r |  | manualT |  |  |  |  | 800008 |  |  | param | [5 empty] | tempt
r |  | status |  |  |  |  | 810008 |  |  | param | [5 empty] | status
#______________________________
*r | circuit1preferences |  |  |  | 15 | 621 | 63
r |  | roomfrost |  |  |  |  | 800008 |  |  | param | [5 empty] | tempt
r |  | pointtemp |  |  |  |  | 810008 |  |  | param | [5 empty] | tempt
r |  | heatinglimit |  |  |  |  | 820008 |  |  | param | [5 empty] | tempt
r |  | outsideTH |  |  |  |  | 830008 |  |  | param | [5 empty] | temp3
r |  | supplyTH |  |  |  |  | 840008 |  |  | param | [5 empty] | temp1
r |  | heating_limit |  |  |  |  | 850008 |  |  | param | [5 empty] | tempt
r |  | dayTH |  |  |  |  | 860008 |  |  | param | [5 empty] | tempt
r |  | nightTH |  |  |  |  | 870008 |  |  | param | [5 empty] | tempt
r |  | remotecontrol |  |  |  |  | 880008 |  |  | param | [5 empty] | tempt
#______________________________
*r | curveH |  |  |  | 15 | 621 | 3
r |  | pointH | heating_curveb ase_point_temp |  |  |  | 810048 |  |  | param | [5 empty] | tempt
r |  | outsideH | heating_curved esign_outside_temp |  |  |  | 8c0048 |  |  | param | [5 empty] | temp3
r |  | supplyH | heating_curved esign_supply_temp |  |  |  | 8d0048 |  |  | param | [5 empty] | temp1
#______________________________
*r | curveC |  |  |  | 15 | 621 | 3
r |  | pointC | cooling_curvebase_point_temp |  |  |  | b00048 |  |  | param | [5 empty] | tempt
r |  | outsideC | cooling_curved esign_outside_temp |  |  |  | af0048 |  |  | param | [5 empty] | temp3
r |  | supplyC | cooling_curved esign_supply_temp |  |  |  | ab0048 |  |  | param | [5 empty] | temp1
#______________________________
*r | target |  |  |  | 15 | 621 | 3
r |  | limitH | heating_limit target_temperature_heating |  |  |  | 950048 |  |  | param | [5 empty] | tempt
r |  | dayH | room_temp_day target_temperature_heating |  |  |  | b30048 |  |  | param | [5 empty] | tempt
r |  | nightH | room_temp_night target_temperature_heating |  |  |  | b50048 |  |  | param | [5 empty] | tempt
r |  | Ssummer | slope_summer target_temperature_heating |  |  |  | ac0048 |  |  | param | [5 empty] | tempt
r |  | SpointS | start_point_summer target_temperature_heating |  |  |  | b60048 |  |  | param | [5 empty] | tempt
r |  | dayC | room_temp_day_cooling target_temperature_heating |  |  |  | b80048 |  |  | param | [5 empty] | tempt
r |  | nightC | room_temp_night_cooling target_temperature_heating |  |  |  | ad0048 |  |  | param | [5 empty] | tempt
#______________________________
*r | circuit1mode |  |  |  | 15 | 621 | 3
r |  | modeC1 | operation_mode circuit1_operation_mode |  |  |  | b20048 |  |  | param | [5 empty] | status
r |  | manualtemp | setpoint_temp_manual_mode circuit1_operation_mode |  |  | 621 | 7890048 |  |  | param | [5 empty] | tempt
#______________________________
*w | curveH |  |  |  | 10 | 623 | 3
w |  | pointH | heating_curveb ase_point_temp |  |  |  | 810048 |  |  | tempt
w |  | outsideH | heating_curved esign_outside_temp |  |  |  | 8c0048 |  |  | temp3
w |  | supplyH | heating_curved esign_supply_temp |  |  |  | 8d0048 |  |  | temp1
#______________________________
*w | curveC |  |  |  | 10 | 623 | 3
w |  | pointC | cooling_curvebase_point_temp |  |  |  | b00048 |  |  | tempt
w |  | outsideC | cooling_curved esign_outside_temp |  |  |  | af0048 |  |  | temp3
w |  | supplyC | cooling_curved esign_supply_temp |  |  |  | ab0048 |  |  | temp1
#______________________________
*w | target |  |  |  | 10 | 623 | 3
w |  | limitH | heating_limit target_temperature_heating |  |  |  | 950048 |  |  | tempt
w |  | dayH | room_temp_day target_temperature_heating |  |  |  | b30048 |  |  | tempt
w |  | nightH | room_temp_night target_temperature_heating |  |  |  | b50048 |  |  | tempt
w |  | Ssummer | slope_summer target_temperature_heating |  |  |  | ac0048 |  |  | tempt
w |  | SpointS | start_point_summer target_temperature_heating |  |  |  | b60048 |  |  | tempt
w |  | dayC | room_temp_day_cooling target_temperature_heating |  |  |  | b80048 |  |  | tempt
w |  | nightC | room_temp_night_cooling target_temperature_heating |  |  |  | ad0048 |  |  | tempt
#______________________________
*w | circuit1mode |  |  |  | 10 | 623 | 3
#w |  | modeC1 | operation_mode circuit1_operation_mode |  |  |  | b20048 |  |  | status
w |  | manualtemp | setpoint_temp_manual_mode circuit1_operation_mode |  |  | 621 | 7890048 |  |  | tempt
#______________________________
#______________________________
*b | master |  |  |  | FE
b |  | data1 |  |  |  | 801 |  | buffer |  | D2B |  |  |  | boiler |  | D2B |  |  |  | test |  | IGN |  |  |  | bwr |  | BI0 |  |  |  | pump |  | BI1 |  |  |  | buffer1 |  | BI2 |  |  |  | buffer2 |  | BI3 |  |  |  | loading |  | BI4 |  |  |  | boiler |  | BI5 |  |  |  | tbfconnect |  | BI6 |  |  |  | return |  | D2B
b |  | data2 |  |  |  | 802 |  | buffer |  | D2B |  |  |  | boiler |  | D2B |  |  |  | expected |  | D1B |  |  |  | device |  | UCH |  |  |  | error |  | UCH
b |  | 10u0503 |  |  | 10 | 503 |  | status |  | UCH |  |  |  | state |  | BI7 |  |  |  | maxmin |  | BI2 |  |  |  | boiler |  | D1C |  |  |  | buffer1 |  | BI2 |  |  |  | buffer2 |  | BI3
#b |  | 10u0503 |  |  | 10 | 503 |  | status |  | IGN |  |  |  | boiler |  | D2B |  |  |  | buffer1 |  | BI2 |  |  |  | buffer2 |  | BI3
#______________________________